## Sheet1
1 Primer + 2 Putty + 2 Paint
3 mm thick ACP Rs. 200/sq ft. Make - Euro Bond
6mm Mirror Panelling with 1.5" * 1.5" side border ( Bevelling extra @ 40 Rs /rft as per design)
ACP Sheet Panelling with Aluminium Framing
Aluminum Sliding Window (anodized , clear glass)
Back painted glass paneling- 8mm toughened thk Glass ( Bevelling extra @ 40 rs / rft as per design)
Bathroom Brickbat Coba -12"
Bathroom Brickbat Coba -4"
Bathroom Brickbat Coba -6"
Bathroom Brickbat Coba -9"
Bathroom Water Proofing
Breaking and Removing Wall Cladding (Marble & Granite) & Plaster
Breaking and Removing Wall Tiles & Plaster
Breaking Floor Tiles
Breaking marble Floor
Breaking of Brick Bat Coba upto 4" to 6"
Breaking of Brick Bat Coba upto 6" to 12"
Breaking of old internal wall plaster
Breaking of Old RCC
Breaking Skirting
Breaking wall 4 " along with plaster
Breaking wall 6" along with plaster
Breaking wall 9 " along with plaster
Brickwork with 4" by 4" Lintel
Brickwork with 6" by 4" Lintel
Brickwork with 9" by 4" Lintel
Cement Plaster (for both side plaster of wall, area should be taken for both sides)
CFL/Led light fixing
Circuit Wiring 2.5 mm including conduit
Circuit Wiring 4 mm including conduit
Clear Toughened Glass 12 mm partition
Debris Removal
Diamond Polish
Dismantling of PCC
ECONMICAL RANGE Basic Rate of Laminte Rs. 40/SFT
Economical range- Laminate INR 40/ sq.ft. Room door - 3' X7'-0" (35 mm blockboard )
Economical range laminate-INR 40/ sq.ft Safety door with Grill (3' X 7'-0") (40mm blockboard)
Economical range laminate-INR 40/ sq.ft. Main door (3'-6" X 7'-0") (40mm blockboard)
Economical range-Laminate Finish
Economical range-Laminate Finish. (Plain design with single laminate)
Economical range-Laminate INR 40/ sq.ft. Toilet door (marine grade) 3' x 7'0" (30mm blockboard)
Fan Fixing along
-fixing of led stripes with material.
Floor Levelling+ Cutting + marble installation (excludes the marble cost)
Floor Levelling+ Cutting + marble installation (excludes the marble cost) + base preparation (pcc)
Floor Covering
Flooring – Vitrified Tiles – bigger then 32”(tiles cost additional)
Flooring – Vitrified Tiles – size of tiles upto 32 inches(tiles cost additional)
Fully Modular Kitchen Platform - Granite
Fully Modular Kitchen Platform - Quartz
Granite Door & Window Frames (Double Patti 6" to 12")
Granite Door & Window Frames (Double Patti upto 6")
Granite Door & Window Frames (Single Patti 6 " to 12")
Granite Door & Window Frames (Single Patti upto 6 inch)
Gypsum board on plywood panelling ( AC Panelling)
Gypsum Board Plywood Partition - wood frame and 12mm ply both sides with Salwood framing
Gypsum cove
Gypsum finish
IGL -Saint Gobain Board/Gyproc+ India Gypsum GI Frame
Internet Wiring CAT-6 (inlcudes wiring & conduits)
Kitchen cabinet demolition
Kitchen Platform demolition
Laminate finish-Economical range
Making Tancha On Wall & slab's where ever required, complete in all manner, by using manual labor or use of any requried machinery, & carting away debreis/ fittings/fixtures by the labor manual hauling to the dumping ground/goods stacking palce where ever prescribed by the engineer.
Marble Door & Window Frames (Double Patti 6" to 12" )
Marble Door & Window Frames (Double Patti upto 6")
Marble Door & Window Frames (Single Patti 6" to 12")
Marble Door & Window Frames (Single Patti upto 6")
Mid range- Melamine polish (matt)
Mid range- Plain Veneer Finish - PU Plain/ Natural Finish
Mid range- Veneer with Melamine Matt
Mid range-Plain Veneer Finish-Melamine polish (matt)
Mid range-Veneer Finish - Clear Lamination
Mid range-Veneer Finish - Malamine (matt)
Mid range-Veneer Finish- PU Plain/ Natural Finish (without any design)
Mid range-Veneer Finish- Clear Lamination
Mid range-Veneer Finish with Melamine Polish
Mid range-Veneer INR 100/ sq.ft
Mid range-Veneer INR 100/ sq.ft. Main door (3'-6" X 7'-0") (40mm blockboard)
Mid range-Veneer INR 100/ sq.ft. Room door - 3' X7'-0" (35 mm blockboard )
Mosaic Wall Tiling - Mortar+Grouting+Tile Fitting+Tiles cutting for Electrical Point +Wall levelling
new 15A Switch & Socket on wall include the price for wire and conduits, chipping and replastering on wall is included
new 5A Switch & Socket on wall include the price for wire and conduits, chipping and replastering on wall is included
new ceiling Light points include the price for wire and conduits, chipping and replastering on wall is included
Normal Polish
PCC 25 - 50mm With Material
PCC 50 - 75mm With Material
Piping for 1 WC + 1 Shower + 1 Geyser + 1 Basin
Plywood panelling for wallpaper
POP Punning (Plum) 12-25mm thick
Relocation of 15A Switch & Socket within 1mts on wall include the price for wire and conduits, chipping and replastering on wall is included
relocation of 5A Switch & Socket on wall include the price for wire and conduits, chipping and replastering on wall is included
relocation of 5A Switch & Socket within 1 mts on wall include the price for wire and conduits, chipping and replastering on wall is included
relocation of ceiling Light point within 5 mts include the price for wire and conduits, chipping and replastering on wall is included
Removal Marble / Granite Window Frame (Single ¦Double Patti ) (75 ¦ 100 ¦ 150 ¦ 300 mm )
Removal of Existing doors & Sliding Windows with frame
Removal of Existing Light fittings & Concealed Wiring
Removal of Sanitary Fittings and Concealed Supply and drainage lines from given locations
Removal of wooden flooring & skirting
Saint Gobain/Gyproc Board + local A Grade channel
Sanitary & CP fitting work ( 1 WC + 1 Shower + 1 Geyser + 1 Basin)
secondary looping point (within same room)
Semi Modular Kitchen Platform
Single Layer Gypsum Board Partition
Siporex wall with 4" by 4" Lintel
Siporex wall with 6" by 4" Lintel
Siporex wall with 9" by 4" Lintel
Skirting - Vitrified tiles of 3" to 6" (tile cost additional)
Speaker Cabling
Standard Light Fixing
Telephone Wiring 4 pair (inlcudes wiring and conduits)
toughened glass 10mm + ozone fitting (shutter)
toughened glass 10mm + ozone fitting (sliding )
Toughened Glass Partition - 12mm thk clear glass
TV Cable Wiring RJ-6 (includes wiring and conduits )
Veneer Finish - Duco White Lamination
Veneer Finish - Duco Color Lamination
Veneer Finish- PU Color Finish
Veneer Finish- Duco White Lamination
Wall Marble Installation - Mortar+Grouting+Marble Fitting+Marble cutting for Electrical Point +Wall levelling
WALL PAPER BASE PREPARATION
Wall Tiling - Mortar+Grouting+Tile Fitting+Tiles cutting for Electrical Point +Wall levelling