## Service Report
Category | Sub Category | Hidden | Unique Code | Service | Base Price | Installation Price | UoM | Description
| Custom Service jobs | Yes | Ser/Civ/Dem/00001 | Dismantling of existing 6” brick wall, plaster, flooring , Bedding Material, Ips Dis. etc. | 0 | 15 | s ft
| Custom Service jobs | Yes | Ser/Civ/Dem/00002 | Dismantling of existing 9” brick wall | 0 | 20 | s ft
| Custom Service jobs | Yes | Ser/Civ/Dem/00003 | Dismantling of existing 6” thick toilet brick bat coba. | 0 | 20 | s ft
| Custom Service jobs | Yes | Ser/Civ/Dem/00007 | Dismantling of existing Tiles , marble, granite, stone strips from wall/ flooring &counter. | 0 | 20 | r ft
| Custom Service jobs | Yes | Ser/Civ/Dem/00009 | Dismantling of existing door & window frame up to 36” breadth. | 0 | 400 | no
| Custom Service jobs | Yes | Ser/Civ/Dem/00010 | carting away the debris | 0 | 4000 | per vehicle
| Custom Service jobs | Yes | Ser/Civ/WCr/00006 | P/M 6”thick brick masonry wall in 1:6 cement/sand mortar including curing and etc. | 0 | 125 | s ft
| Custom Service jobs | Yes | Ser/Civ/WCr/00007 | P/M 9”thick brick masonry wall in 1:6 cement/sand mortar including curing and etc. | 0 | 150 | s ft
| Custom Service jobs | Yes | Ser/Civ/Grn/00001 | S & F OF KITCHEN COUNTER IN GRANITE FINISH OF APROOVED SHADE | 180 | 1320 | r ft
| Custom Service jobs | Yes | Ser/Civ/Fin/00002 | P/A ¾” thick cement/sand plaster with curing | 0 | 60 | s ft
| Custom Service jobs | Yes | Ser/Civ/Fin/00003 | p/a 1:4 cement/sand plaster to existing old wall and RCC wall up to 11/2”thick and curing | 0 | 80 | s ft
| Custom Service jobs | Yes | Ser/Civ/Fin/00005 | Fixing of your door & window frame up to 36” width. | 0 | 792 | no
| Custom Service jobs | Yes | Ser/Civ/Fin/00034 | Fixing of your marble/granite in araldite up to 11”wide. | 0 | 120 | r ft
| Custom Service jobs | Yes | Ser/Civ/Fin/00036 | Fixing of your tiles to Floor ,Wall in cement size 2'0" X 2'0" | 0 | 80 | s ft
| Custom Service jobs | Yes | Ser/Civ/Fin/00037 | Fixing of your tiles to Floor ,Wall in cement size above 2'0" X 2'0" | 0 | 90 | s ft
| Custom Service jobs | Yes | Ser/Civ/Fin/00045 | Transportation for carting of debris | 0 | 4500 | no
| Custom Service jobs | Yes | Ser/Civ/Fin/00047 | Making wash basin counter(with out Indian marble) | 180 | 1320 | r ft
| Custom Service jobs | Yes | Ser/Civ/Fin/00060 | Cutting of hole for wash basin below counter. | 0 | 1150 | no
| Custom Service jobs | Yes | Ser/Civ/Fin/00077 | Plaster in totality (20-25 mm thick min) in C.S ratio 1:4 in base coat & 1:3 in final coats including finishing of R.C.C chajjas with thick drip mould, curing , adding plasticier etc. | 0 | 105 | s ft
| Custom Service jobs | Yes | Ser/Civ/Fin/00079 | PoP Punning - 10/12 mm thick | 0 | 25 | s ft
| Custom Service jobs | Yes | Ser/Civ/WPr/00001 | Water Proofing - Dr Fixit / Sunanda | 0 | 150 | s ft
| Custom Service jobs | Yes | Ser/Civ/Plu/00006 | P/Making internal concealed plumbing with 1/2" dia KPVC pipework formulty shower toilet(without CI/PVC pipe , CI/PVC fittings and N. Trap | 0 | 36300 | toilet
| Custom Service jobs | Yes | Ser/Civ/Plu/00042 | Labour charges for fixing your IMPDiverter, Shower fittings, wash basin, Basin mixer, WC, Flush valve, Geyser and other fittings. | 0 | 23595 | toilet
| Custom Service jobs | Yes | Ser/Civ/Plu/00045 | Labour charges for fixing of your fixers and fittings for kitchen/pantry. | 0 | 6655 | kitchen
| Custom Service jobs | Yes | Ser/Civ/Plu/00046 | Fixing of your pressure pump. | 0 | 7260 | no
| Custom Service jobs | Yes | Ser/Civ/Plu/00049 | Disconecting of your old plumbing ,w.c.,wash basin ,etc. | 0 | 1500 | no
| Custom Service jobs | Yes | Ser/Civ/Bat/00001 | Providing & applying water proofing base coat on RCC slab & wall with required material & labour to the final finish. | 0 | 125 | s ft
| Custom Service jobs | Yes | Ser/Civ/Bat/00002 | Providing & fixing of 6" light weight brick bat coba, with required material & labour to the final finish. | 0 | 350 | s ft
| Custom Service jobs | Yes | Ser/Civ/Bat/00003 | Providing & laying conceal CPVC plumbing for bathroom / washroom ( Area 6 x 4) with material & labour to final finish. Note C.P fitting will be provided by the client. | 0 | 15000 | s ft /r ft
| Custom Service jobs | Yes | Ser/Civ/Car/00001 | Providing & fixing of safety door on the main entrance, made up of flush door, finish with laminate, with required material & labour to the final finish. | 0 | 55000 | no
| Custom Service jobs | Yes | Ser/Civ/Car/00002 | Providing and Fixing of glass doors made of 12mm thktoughend glass with required material & labour to the final finish. | 0 | 30000 | no
| Custom Service jobs | Yes | Ser/Civ/Car/00003 | Providing and Fixing of flush door finished in laminate with required fitting hardware labour complete. | 0 | 35000 | no
| Custom Service jobs | Yes | Ser/Civ/Wal/00001 | Wall Paper | 80 | 80 | s ft
| Custom Service jobs | Yes | Ser/Civ/Win/00001 | Window Curtains | 3500 | 500 | nos
| Custom Service jobs | Yes | Ser/Civ/Dad/00001 | Providing and laying of Dado Tiles on Kitchen Wall | 120 | 60 | s ft
| Custom Service jobs | Yes | Ser/Elec/Pwi/00001 | Circuit wiring with 2 nos 2.5 sqmm wire and 1 no of 1.5 sqmm with Conduit | 105 | 20 | r ft
| Custom Service jobs | Yes | Ser/Elec/Pwi/00002 | Primary Light point from SB to First Light point - 5A switch using 600V Grade - 2x2.5 and 1x1.5. | 1400 | 175 | no
| Custom Service jobs | Yes | Ser/Elec/Pwi/00003 | Secondary light point from one point to another point - using 600V Grade - 3x1.5 | 680 | 150 | no
| Custom Service jobs | Yes | Ser/Elec/Pwi/00004 | 15 Amps Raw power Switch socket points (250V) | 1725 | 175 | no
| Custom Service jobs | Yes | Ser/Elec/Pwi/00005 | Electric Work for Domesitc Light Points - Supply and providing end terminations with copper cable lugs, double compression brass cable glands, taping, crimping, gland and armour earthing, etc - Make - Braco / Comet / Dowells | 305 | 55 | no
| Custom Service jobs | Yes | Ser/Elec/Lig/00001 | 40 Watts Suspended LED (4ft) | 4100 | 125 | no
| Custom Service jobs | Yes | Ser/Elec/Lig/00003 | 15 Watts LED light | 2200 | 100 | no
| Custom Service jobs | Yes | Ser/Elec/Lig/00004 | S&I of 9" exhaust fan | 1480 | 150 | no
| Custom Service jobs | Yes | Ser/Fce/Gyp/00001 | Providing & fixing of 12mm thk Gypsum ceiling or equivalent on G.I frame with required material& labour to the final finish. Make - Gyproc | 0 | 105 | s ft
| Custom Service jobs | Yes | Ser/Fce/Woo/00001 | Providing & fixing of 12mm thk Wooden ceiling or equivalent on G.I frame with required material& labour to the final finish. | 0 | 450 | s ft
| Custom Service jobs | Yes | Ser/Fce/Pop/00001 | Providing & fixing of 10mm thk POP Sheet ceiling on G.I frame with required material & labour to the final finish. | 0 | 60 | s ft
| Custom Service jobs | Yes | Ser/Ptg/Emul/00001 | Acrylic Plastic Emulsion painting - Supply and application of washable interior grade atmosphere eco-friendly plastic emulsion paint on walls with 1 coat of wall primer and 2 or more coats of plastic emulsion paint. | 0 | 25 | s ft
| Custom Service jobs | Yes | Ser/Ptg/Text/00001 | Texture Paint - Providing and applying of texture paint - Asian royale play or equivalent as per manufacturers specifications. 1 coat of wall primer and 2 or more coats of plastic emulsion paint. | 0 | 135 | s ft
| Custom Service jobs | Yes | Ser/Ptg/Enam/00001 | Enamel paint - Providing & applying semi-gloss enamel paint on walls (Asian paints or equivalent). 1 coat of wall primer and 2 or more coats of plastic emulsion paint. | 0 | 25 | s ft
| Custom Service jobs | Yes | Ser/Ptg/Lstr/00001 | Providing and Applying Lustre Paint (Asian, Nerolac or equivalent). 1 coat of wall primer and 2 or more coats of plastic emulsion paint. | 0 | 30 | s ft
| Custom Service jobs | Yes | Ser/Flr/Til/00001 | Providing and laying in position vitrified tiles of min size 24” x 24” of approved shade and make, over a base of 3/4" thick 1:3 Cement Plaster (1 Cement : 3 Coarse Sand), including laying tiles to approved pattern, applying Laticrete epoxy grout, cleaning, curing etc. complete at all levels - Make - Kajaria / Nitco / Somany / Hindware | 70 | 90 | s ft
| Custom Service jobs | Yes | Ser/Flr/Til/00002 | Providing and laying in position vitrified tiles of min size 32” x 32” of approved shade and make, over a base of 3/4" thick 1:3 Cement Plaster (1 Cement : 3 Coarse Sand), including laying tiles to approved pattern, applying Laticrete epoxy grout, cleaning, curing etc. complete at all levels - Make - Kajaria / Nitco / Somany / Hindware | 70 | 90 | s ft
| Custom Service jobs | Yes | Ser/Flr/Cer/00001 | Providing and laying of Ceramic flooring of make Nitco, Kajaria, H&R Johnson or equialent | 70 | 90 | s ft
| Custom Service jobs | Yes | Services-CivilWork-00001 | Brick Bat Coba 150mm |  | 256 | sft
| Custom Service jobs | Yes | Services-CivilWork-00002 | 50MM Pcc |  | 72 | sft
| Custom Service jobs | Yes | Services-CivilWork-00003 | Spirox Block work 230mm |  | 248 | sft
| Custom Service jobs | Yes | Services-CivilWork-00004 | Spirox Block work 150mm |  | 192 | sft
| Custom Service jobs | Yes | Services-CivilWork-00005 | Spirox Block work 100mm |  | 144 | sft
| Custom Service jobs | Yes | Services-CivilWork-00006 | Providing & Laying 12-15mm thick plaster in cement mortar |  | 68 | sft
| Custom Service jobs | Yes | Services-CivilWork-00007 | Providing and laying water- proofing treatment to toilet, kitchen. wash area, etc., |  | 92 | sft
| Custom Service jobs | Yes | Services-CivilWork-00009 | 150mm - Providing & fixing of Door Jamb in 20 mm thk. Granite Stone over a bed of 20 mm thk. cement mortar ( 1:4 ) jointed with cement slurry mixed with pigment to match the colour of Granite drawing/Architect instruction. (Single Patta will be measured as executed & In double patta double measurment will be measured) | 0 | 120 | rft | Base Rate to be calculated in RFT. Please enter Granite Purchase Cost in Base Rate Field
| Custom Service jobs | Yes | Services-CivilWork-00010 | 200mm - Providing & fixing of Door Jamb in 20 mm thk. Granite Stone over a bed of 20 mm thk. cement mortar ( 1:4 ) jointed with cement slurry mixed with pigment to match the colour of Granite drawing/Architect instruction. (Single Patta will be measured as executed & In double patta double measurment will be measured) | 0 | 120 | rft | Base Rate to be calculated in RFT. Please enter Granite Purchase Cost in Base Rate Field
| Custom Service jobs | Yes | Services-CivilWork-00014 | Granite Threshold in Flooring - 100mm | 0 | 100 | rft | Base Rate to be calculated in RFT. Please enter Granite Purchase Cost in Base Rate Field
| Custom Service jobs | Yes | Services-CivilWork-00016 | Granite Threshold in Flooring - 200mm | 0 | 100 | rft | Base Rate to be calculated in RFT. Please enter Granite Purchase Cost in Base Rate Field
| Custom Service jobs | Yes | Services-CivilWork-00018 | Granite Shelf | 0 | 144 | sft | Base Rate to be calculated in SFT. Please enter Granite Purchase Cost in Base Rate Field
| Custom Service jobs | Yes | Services-CivilWork-00020 | Kitchen Counter in Granite/Quartz over Bison Board along with vertical side facia and | 0 | 1168 | rft | Base Rate to be calculated in RFT. Please enter Granite Purchase Cost in Base Rate Field
| Custom Service jobs | Yes | Services-CivilWork-00021 | Granite Flooring | 0 | 100 | sft | Base Rate to be calculated in SFT. Please enter Granite Purchase Cost in Base Rate Field
| Custom Service jobs | Yes | Services-CivilWork-00022 | Wooden Flooring | 0 | 24 | sft | Base Rate to be calculated in SFT. Please enter Wooden Flooring Purchase Cost in Base Rate Field
| Custom Service jobs | Yes | Services-CivilWork-00023 | Wooden Skirting | 0 | 16 | rft | Base Rate to be calculated in RFT. Please enter Wooden Skirting Purchase Cost in Base Rate Field
| Custom Service jobs | Yes | Services-CivilWork-00024 | Vinyl Flooring | 0 | 24 | sft | Base Rate to be calculated in SFT. Please enter Vinyl Flooring Purchase Cost in Base Rate Field
| Custom Service jobs | Yes | Services-CivilWork-00025 | 600mm x 600mm Floor Tile | 0 | 96 | sft | Base Rate to be calculated in SFT. Please enter Tile Purchase Cost in Base Rate Field
| Custom Service jobs | Yes | Services-CivilWork-00026 | 800mm x 800mm Floor Tile | 0 | 96 | sft | Base Rate to be calculated in SFT. Please enter Tile Purchase Cost in Base Rate Field
| Custom Service jobs | Yes | Services-CivilWork-00027 | 1200mm x 600mm Floor Tile | 0 | 108 | sft | Base Rate to be calculated in SFT. Please enter Tile Purchase Cost in Base Rate Field
| Custom Service jobs | Yes | Services-CivilWork-00028 | 75mm Skirting | 0 | 64 | rft | Base Rate to be calculated in RFT. Please enter Tile Skirting Purchase Cost in Base Rate Field
| Custom Service jobs | Yes | Services-CivilWork-00029 | 300mm x 600mm Dado Tile | 0 | 96 | sft | Base Rate to be calculated in SFT. Please enter Tile Purchase Cost in Base Rate Field
| Custom Service jobs | Yes | Services-CivilWork-00030 | 600mm x 600mm Dado tile | 0 | 96 | sft | Base Rate to be calculated in SFT. Please enter Tile Purchase Cost in Base Rate Field
| Custom Service jobs | Yes | Services-CivilWork-00031 | Granite Dado (600mm x 600mm) | 0 | 108 | sft | Base Rate to be calculated in SFT. Please enter Tile Purchase Cost in Base Rate Field
| Custom Service jobs | Yes | Services-CivilWork-00032 | Providing, making & fixing Teak wood DOOR FRAME 4"X2", hold fastener, finished with hand polish of approved shade complete with all necessary hardware such as hold fasts, polish etc. completed as per design & details given in drawing/Architect instruction. (Basic cost of wood is Rs.3750.00 CFT.) |  | 384 | rft
| Custom Service jobs | Yes | Services-CivilWork-00033 | 32mm Flush door with both side laminate and all necessary (700mm x 2050mm) hardware (Round Knob Lock, Tower Bolt) Make Enox or Equivalent to Enox) |  | 16400 | no.
| Custom Service jobs | Yes | Services-CivilWork-00035 | 35mm Flush Door modified with 6mm marine ply fixing on both sides and with approved laminate & necessary Hardware. of Approved Make. With polished edge bidding (Rate without Door frame) |  | 14400 | no.
| Custom Service jobs | Yes | Services-CivilWork-00036 | Providng and fixing 35mm Single shutter Door of overall size 915mm x 2100mm Finished in Laminate ( Laminate cost upto 1500/- per sheet) (Concealed Lock, H Handle upto 1', Tower Bolt, SS Grill upto size 1' x 4', & Door Stopper this all hardware is considered total Cost upto 9000/-) ( as per detail in drg (Rate without Door frame) |  | 1320 | sft
| Custom Service jobs | Yes | Services-CivilWork-00037 | Safety Door side Panelling Finish with Laminate cost of Laminate upto 1500/- per sheet (Not more Than two type of Laminate) |  | 440 | sft
| Custom Service jobs | Yes | Services-CivilWork-00038 | 19mm ply,exterior Mdf or Bison Board panelling without frame on wall |  | 172 | sft
| Custom Service jobs | Yes | Services-CivilWork-00039 | 12mm ply,exterior Mdf or Bison Board panelling without frame on wall |  | 152 | sft
| Custom Service jobs | Yes | Services-CivilWork-00040 | 19mm ply, exterior Mdf or Bison Board panelling with frame on wall |  | 280 | sft
| Custom Service jobs | Yes | Services-CivilWork-00041 | 12mm ply, exterior Mdf or Bison Board panelling with frame on wall |  | 252 | sft
| Custom Service jobs | Yes | Services-CivilWork-00042 | Finish with Gypsum Sheet |  | 60 | sft
| Custom Service jobs | Yes | Services-CivilWork-00043 | Finish with Laminate (Basic Cost of Laminate 1500/-sheet) |  | 76 | sft
| Custom Service jobs | Yes | Services-CivilWork-00044 | Finish with 6mm Mirror |  | 224 | sft
| Custom Service jobs | Yes | Services-CivilWork-00045 | Charcoal Sheet fixing | 0 | 68 | sft | Base Rate to be calculated in SFT. Please enter Purchase Cost in Base Rate Field
| Custom Service jobs | Yes | Services-CivilWork-00046 | Wall paper | 0 | 24 | sft | Base Rate to be calculated in SFT. Please enter Purchase Cost in Base Rate Field
| Custom Service jobs | Yes | Services-CivilWork-00047 | Ply, Exterior mdf & Bison Board Palmet finished with Gypsum height not more than 1' |  | 340 | rft
| Custom Service jobs | Yes | Services-CivilWork-00048 | Ply, Exterior mdf & Bison Board Palmet finished with Gypsum height more than 1' |  | 340 | sft
| Custom Service jobs | Yes | Services-CivilWork-00049 | Sliding Alluminium Window with anodizing |  | 420 | sft
| Custom Service jobs | Yes | Services-CivilWork-00050 | Alluminium Louvers In toilet |  | 360 | sft
| Custom Service jobs | Yes | Services-CivilWork-00051 | Upvc Window |  | 770 | sft
| Custom Service jobs | Yes | Services-CivilWork-00052 | Plain Gypsum ceiling |  | 88 | sft
| Custom Service jobs | Yes | Services-CivilWork-00053 | Making cove in gypsum ceiling |  | 88 | rft
| Custom Service jobs | Yes | Services-CivilWork-00054 | Gypsum Panelling directly on wall |  | 60 | sft
| Custom Service jobs | Yes | Services-CivilWork-00055 | Gypsum Panelling with Frame |  | 88 | sft
| Custom Service jobs | Yes | Services-CivilWork-00056 | Pop Punning in line level |  | 27.2 | sft
| Custom Service jobs | Yes | Services-CivilWork-00058 | Pop punning Patra finish |  | 19.2 | sft
| Custom Service jobs | Yes | Services-CivilWork-00059 | Ply Laminate ceiling |  | 408 | sft
| Custom Service jobs | Yes | Services-CivilWork-00060 | Ply veneer ceiling with mellamine polish (considered normal plain fixing of veneer, for any design cost will be extra ) (Basic Cost of Veneer Considered 110/-) |  | 544 | sft
| Custom Service jobs | Yes | Services-CivilWork-00061 | 12mm or 10mm Toughened glass Partition |  | 360 | sft
| Custom Service jobs | Yes | Services-CivilWork-00063 | Plastic Paint |  | 24 | sft
| Custom Service jobs | Yes | Services-CivilWork-00064 | Luster Paint |  | 28 | sft
| Custom Service jobs | Yes | Services-CivilWork-00065 | Royal Paint |  | 32 | sft
| Custom Service jobs | Yes | Services-CivilWork-00066 | Texture Royal Metallic Paint |  | 144 | sft
| Custom Service jobs | Yes | Services-CivilWork-00067 | Texture Royal Play Non Metallic Paint |  | 96 | sft
| Custom Service jobs | Yes | Services-CivilWork-00069 | Mellamine Polish |  | 72 | sft
| Custom Service jobs | Yes | Services-CivilWork-00072 | Internal Plumbing for one bathroom & Kitchen (one W.C., one Wash Basin, one Mixture, one Shower, one geyser, two nahani trap, & hot - cold facility will be available in Mixture only.) ( In Kitchen One sink Cock Point, Aqua Guard Point & one Nahni Trap) in (Astral & Ashirwaad Brand) Cpvc Pipe & Drainage work in (Prince or equivalent brand Pvc pipe. |  | 24000 | no.
| Custom Service jobs | Yes | Services-CivilWork-00073 | Water Tank Storage |  | 16.8 | ltr
| Custom Service jobs | Yes | Services-Dismantling-00001 | Dismantling brick work in 230mm thick walls to all heights & Levels. |  | 52 | sft
| Custom Service jobs | Yes | Services-Dismantling-00002 | Dismantling brick work in 115mm thick walls to all heights & levels. |  | 36 | sft
| Custom Service jobs | Yes | Services-Dismantling-00003 | Dismantling & Removing of all existing Counter, fixtures, fittings etc. |  | 68 | sft
| Custom Service jobs | Yes | Services-Dismantling-00004 | Dismantling of existing glazing and disposal of unserviceable material |  | 32 | sft
| Custom Service jobs | Yes | Services-Dismantling-00005 | Dismantling of existing partition, glazing, column/wall cladding and disposal of unserviceable material |  | 32 | sft
| Custom Service jobs | Yes | Services-Dismantling-00006 | Dismantling of existing gypsum ceiling, grid ceiling & disposal of unserviceable material as directed to municipal dumping ground. |  | 32 | sft
| Custom Service jobs | Yes | Services-Dismantling-00007 | Dismantling of existing flooring & disposal of unserviceable material |  | 36 | sft
| Custom Service jobs | Yes | Services-Dismantling-00009 | Dismantling of existing B.B.C. [ 6" high]& disposal of unserviceable material |  | 36 | sft
| Custom Service jobs | Yes | Services-Dismantling-00011 | Dismantling of existing ceramic tiles cladding on walls at all heights and removal of debris from site as directed by Engineer-In Charge. |  | 32 | sft
| Custom Service jobs | Yes | Services-Dismantling-00012 | Dismantling of Existing Wall Plaster |  | 32 | sft
| Custom Service jobs | Yes | Services-Dismantling-00013 | Dismantling of existing R.C.C Slab as directed by Engineer in Charge.( Add 1000/- Rs rent for Breaker machine per day) |  | 100 | sft
| Custom Service jobs | Yes | Services-Dismantling-00014 | Removing/Dismantling of existing Windows & ventilators with their frames & glazing . The rate shall be inclusive of clearing mortar/concrete from the frame and holdfast as directed by Engineer-in-Charge. |  | 32 | sft
| Custom Service jobs | Yes | Services-Dismantling-00015 | Removing/Dismantling of Existing Doors with their frames as directed by Engineer-in-Charge. |  | 600 | no.
| Custom Service jobs | Yes | Services-Dismantling-00017 | Dismantling & Removing of all existing sanitary / plumbing fixtures as per the site conditions and instructions of Engineer in Charge . |  | 4800 | no.
| Custom Service jobs | Yes | Services-Dismantling-00018 | Dismantling & Removing of existing Electric points & fixtures by the way including stacking of all pipes all leads and heights (considering the switch board as one point) |  | 320 | point
| Custom Service jobs | Yes | Services-ElectricWork-00001 | Light Point Wiring (wire & Conduit) |  | 760 | no.
| Custom Service jobs | Yes | Services-ElectricWork-00002 | Two Way Point wiring |  | 1520 | no.
| Custom Service jobs | Yes | Services-ElectricWork-00003 | Circuit charge 10 mtr per Switch Board of 2.5mm circuit |  | 1800 | no.
| Custom Service jobs | Yes | Services-ElectricWork-00004 | Circuit charge for AC & Geyser of 4.0mm circuit |  | 3600 | no.
| Custom Service jobs | Yes | Services-ElectricWork-00005 | Switch Board (Considering Anchor Roma White Switch Board and Switch) |  | 600 | no.
| Custom Service jobs | Yes | Services-ElectricWork-00006 | Concealed Led panel lights in Ceiling |  | 80 | no.
| Custom Service jobs | Yes | Services-ElectricWork-00007 | Led Strips Light |  | 8 | rft
| Custom Service jobs | Yes | Services-ElectricWork-00008 | Wall Light fixing |  | 120 | no.
| Custom Service jobs | Yes | Services-ElectricWork-00009 | Hanging light Fixing |  | 144 | no.
| Custom Service jobs | Yes | Services-ElectricWork-00010 | Tv Cable point upto lenght 10mtr |  | 1440 | no.
| Custom Service jobs | Yes | Services-ElectricWork-00011 | Telephone point upto lenght 10mtr |  | 1440 | no.
| Custom Service jobs | Yes | Services-ElectricWork-00012 | Data Cable for video calling bell point and Wifi point |  | 52 | rft
| Custom Service jobs | Yes | Services-ElectricWork-00013 | Rectification of Main Distribution Board as per site requirments |  | 12000 | no.
| Custom Service jobs | Yes | Services-ElectricWork-00014 | Main Distribution Board of 12 way with 63amp Elcb & 10 amp to 25amp Mcb. |  | 20000 | no.
| Custom Service jobs | Yes | Services-Miscellaneous-00001 | Housekeeping |  | 3000 | l.s
| Custom Service jobs | Yes | Services-Miscellaneous-00002 | Floor Protection Sheet |  | 3000 | l.s
| Custom Service jobs | Yes | Services-Miscellaneous-00003 | Loading & Unloading of material (10/-Rs per sft for every Five floors) |  | 15 | sft
| Custom Service jobs | Yes | Services-Miscellaneous-00005 | Debris removing from premises (Per Truck load) (Add 10/-Rs per sft for every Five floors) |  | 4000 | no.
| Custom Service jobs | Yes | Services-Miscellaneous-00006 | Anti Termite Treatment |  | 9.6 | sft
| Custom Service jobs | Yes | Services-CivilWork-00074 | Internal Plumbing For One Kitchen - ( In Kitchen One Sink Cock Point, Aqua Guard Point & One Nahni Trap) In (Astral & Ashirwaad Brand) Cpvc Pipe & Drainage Work In (Prince Or Equivalent Brand Pvc Pipe. |  | 6000 | nos
| Custom Service jobs | Yes | Services-CivilWork-00075 | Internal Plumbing For One Bathroom (One W.C., One Wash Basin, One Mixture, One Shower, One Geyser, Two Nahani Trap, & Hot - Cold Facility Will Be Available In Mixture Only.) |  | 20000 | nos
Civil Work | Wall Tiling (1'x 1' ¦ 1' x 1'-6" ¦ 2' x 2' ¦ 1'-6" x 2'-8") | No | 71231211 | Wall Tiling - Mortar+Grouting+Tile Fitting+Tiles cutting for Electrical Point +Wall levelling | 0 | 62 | sft | Laying of Wall tiles of approved colour and size in flooring pattern as per drawing, over 20 mm thick cement mortar 1 : 4 ( 1 cement : 4 coarse sand ) and jointed with white cement slurry admixed with matching pigment to match the shade of tile & Grouting and spacer to be included.
Civil Work | Mosaic Tiles Installtion (6" x 1" ¦ 6" x 9") | No | 71231212 | Mosaic Wall Tiling - Mortar+Grouting+Tile Fitting+Tiles cutting for Electrical Point +Wall levelling | 0 | 66 | sft | Laying of Wall tiles of approved colour and size in flooring pattern as per drawing, over 20 mm thick cement mortar 1 : 4 ( 1 cement : 4 coarse sand ) and jointed with white cement slurry admixed with matching pigment to match the shade of tile & epoxy grouting and spacer to be included.
Civil Work | Indian Marble Installation - Wall | No | 71231213 | Wall Marble Installation - Mortar+Grouting+Marble Fitting+Marble cutting for Electrical Point +Wall levelling | 0 | 85 | sft | Laying marble (18mm thk) of approved colour, shade and size in the wall as per drawing / flooring pattern, matching of grain, laid on a levelled, neat cement base with adhesive of approved make (laticrete) grouted of matching colour pigment to match the shade of stone
Civil Work | Kitchen Platform(Civil Work) | No | 71231214 | Fully Modular Kitchen Platform - Granite | 0 | 280 | sft | Kitchen Platform installation (includes base ply, also includes moulding , cutting etc).Stone cost in sq.ft to be mentioned in base rate
Civil Work | Kitchen Platform(Civil Work) | No | 71231215 | Fully Modular Kitchen Platform - Quartz | 0 | 280 | sft | Kitchen Platform installation (includes base marble with moulding , cutting also includes floor bedding with marble etc).Stone cost in sq.ft to be mentioned in base rate
Civil Work | Kitchen Platform(Civil Work) | No | 71231216 | Semi Modular Kitchen Platform | 0 | 580 | sft | Kitchen Platform Installation ( includes marble verticals, base marble, with moulding , cutting etc , also includes floor bedding with marble).Stone cost in sq.ft to be mentioned in base rate
Civil Work | Bathroom Brickbat Coba | No | 71231217 | Bathroom Brickbat Coba -4" |  | 113 | sft | Providing & laying brickbat coba (4") with PCC
Civil Work | Bathroom Brickbat Coba | No | 71231218 | Bathroom Brickbat Coba -6" |  | 135 | sft | Providing & laying brickbat coba (6") with PCC
Civil Work | Bathroom Brickbat Coba | No | 71231219 | Bathroom Brickbat Coba -9" |  | 149 | sft | Providing & laying brickbat coba (9") with PCC
Civil Work | Bathroom Brickbat Coba | No | 71231220 | Bathroom Brickbat Coba -12" |  | 180 | sft | Providing & laying brickbat coba (12") with PCC
Civil Work | Bathroom Water Proofing | No | 71231221 | Bathroom Water Proofing |  | 50 | sft | Bathroom Water Proofing Base coat (Ponding test to be carried out) Consider water proofing in bathrooms floor and walls upto 3' height and consider total floor and wall area
Civil Work | Door and Window Frame | No | 71231222 | Granite Door & Window Frames (Single Patti upto 6 inch) |  | 288 | rft | Granite Frame – up to 6 Inches width {Including Basic Granite of Rs 150/sqft + Bevelling+ Cutting+ Polishing} Single Patti
Civil Work | Door and Window Frame | No | 71231223 | Granite Door & Window Frames (Single Patti 6 " to 12") |  | 401 | rft | Granite Frame – 6" to 12" Inches width {Including Basic Granite of Rs 150/sqft+ Bevelling+ Cutting+ Polishing} Single Patti
Civil Work | Door and Window Frame | No | 71231224 | Granite Door & Window Frames (Double Patti upto 6") |  | 428 | rft | Granite Frame – up to 6 Inches width {Including Basic Granite of Rs 150/sqft + Bevelling+ Cutting+ Polishing} Double Patti
Civil Work | Door and Window Frame | No | 71231225 | Granite Door & Window Frames (Double Patti 6" to 12") |  | 504 | rft | Granite Frame – up to 6 to 12 Inches width {Including Basic Granite of Rs 150/sqft+ Bevelling+ Cutting+ Polishing} Double Patti
Civil Work | Door and Window Frame | No | 71231226 | Marble Door & Window Frames (Single Patti upto 6") |  | 360 | rft | Marble Frame – up to 6 Inches width {Including Basic Italian / Composite Marble of Rs 250/sqft + Bevelling+ Cutting+ Polishing} Single Patti
Civil Work | Door and Window Frame | No | 71231227 | Marble Door & Window Frames (Single Patti 6" to 12") |  | 540 | rft | Marble Frame – up to 6 to 12 Inches width {Including Basic Italian/Composite marble of Rs 250/sqft+ Bevelling+ Cutting+ Polishing} Single Patti
Civil Work | Door and Window Frame | No | 71231228 | Marble Door & Window Frames (Double Patti upto 6") |  | 608 | rft | Marble Frame – up to 6 Inches width {Including Basic Italian/Composite marble of Rs 250/sqft + Bevelling+ Cutting+ Polishing} Double Patti
Civil Work | Door and Window Frame | No | 71231229 | Marble Door & Window Frames (Double Patti 6" to 12" ) |  | 630 | rft | Marble Frame – up to 6 to 12 Inches width {Including Basic Italian/ Composite Marble of Rs 250/sqft+ Bevelling+ Cutting+ Polishing} Double Patti
Civil Work | Aluminium Sliding Window | No | 71231230 | Aluminum Sliding Window (anodized , clear glass) |  | 338 | sft | New Aluminum Sliding Window(2 Track Jindal, 1.1 Guage) including material
Civil Work | 4" thick brick wall | No | 71231231 | Brickwork with 4" by 4" Lintel |  | 90 | sft | Providing and laying 4" (100 MM) brick partition wall with good quality bricks well burnt 1st class in cement mortar 1:4 (1 cement : 4 coarse sand) including providing 2 nos of 6mm dia MS round bars at every IV course including scaffolding, curing, raking out joints etc. complete.
Civil Work | 6" thick brick wall | No | 71231232 | Brickwork with 6" by 4" Lintel |  | 131 | sft | Providing and laying 6" (150 MM) brick partition wall with good quality bricks well burnt 1st class in cement mortar 1:4 (1 cement : 4 coarse sand) including providing 2 nos of 6mm dia MS round bars at every IV course including scaffolding, curing, raking out joints etc. complete.
Civil Work | 9" thick brick wall | No | 71231233 | Brickwork with 9" by 4" Lintel |  | 171 | sft | Providing and laying 9" (250 MM) brick partition wall with good quality bricks well burnt 1st class in cement mortar 1:4 (1 cement : 4 coarse sand) including providing 2 nos of 6mm dia MS round bars at every IV course including scaffolding, curing, raking out joints etc. complete.
Civil Work | 4" thick Siporex wall | No | 71231234 | Siporex wall with 4" by 4" Lintel |  | 108 | sft | Providing and laying 4" (100 MM) Siporex partition wall with good quality blocks 1st class in cement mortar 1:4 (1 cement : 4 coarse sand) including providing 2 nos of 6mm dia MS round bars at every IV course including scaffolding, curing, raking out joints etc. complete.
Civil Work | 6" thick Siporex wall | No | 71231235 | Siporex wall with 6" by 4" Lintel |  | 158 | sft | Providing and laying 6" (150 MM) Siporex partition wall with good quality blocks 1st class in cement mortar 1:4 (1 cement : 4 coarse sand) including providing 2 nos of 6mm dia MS round bars at every IV course including scaffolding, curing, raking out joints etc. complete.
Civil Work | 9" thick Siporex wall | No | 71231236 | Siporex wall with 9" by 4" Lintel |  | 212 | sft | Providing and laying 9" (250 MM) Siporex partition wall with good quality blocks 1st class in cement mortar 1:4 (1 cement : 4 coarse sand) including providing 2 nos of 6mm dia MS round bars at every IV course including scaffolding, curing, raking out joints etc. complete.
Civil Work | PCC 25- 50mm | No | 71231237 | PCC 25 - 50mm With Material |  | 74 | sft | P / L 25-50mm average thickness Plain Cement Concrete 1:2:4 (1 cement : 2 coarse sand : 4 aggregate, 20mm and down gauge) , tamped, spaded, trowelled and smooth finish.
Civil Work | PCC 50-75mm | No | 71231238 | PCC 50 - 75mm With Material |  | 95 | sft | P / L 50-75mm average thickness Plain Cement Concrete 1:2:4 (1 cement : 2 coarse sand : 4 aggregate, 20mm and down gauge) , tamped, spaded, trowelled and smooth finish.
Civil Work | Cement Plaster | No | 71231239 | Cement Plaster (for both side plaster of wall, area should be taken for both sides) |  | 47 | sft | Providing and laying 12-25 mm thick cement plaster of mis 1 : 4 (1 cement : 4 sand with 50% coarse sand & 50% fine sand) to all type of RCC / brick surface in line, level and plumb including providing wiremesh at all junctions of walls and ceilings etc. complete.
Civil Work | POP Punning | No | 71231240 | POP Punning (Plum) 12-25mm thick |  | 25 | sft | Providing and applying 12-25 mm thick POP (Sakarni or Shri ram) punning on wall /ceiling including scrapping and hacking the existing finished surface and applying plaster of paris in proper line and levels etc. complete.
Flooring | Floor Covering for protection of New or Present flooring | No | 71231241 | Floor Covering |  | 8 | sft | P / F 6mm thk. plastic foam sandwich sheet for floor protection including taping of all sheet joints etc. complete
Flooring | Indian Marble Installation | No | 71231242 | Floor Levelling+ Cutting + marble installation (excludes the marble cost) + base preparation (pcc) | 0 | 90 | sft | Laying marble (18mm thk) of approved colour, shade and size in the flooring as per drawing / flooring pattern, matching of grain, laid on a levelled, neat cement base with adhesive of approved make (laticrete) grouted of matching colour pigment to match the shade of stone and protection of floor to be taken into account.(cement concrete base taken into account in the civil works )
Flooring | Italian Marble Installation | No | 71231243 | Floor Levelling+ Cutting + marble installation (excludes the marble cost) | 0 | 131 | sft | Laying marble (18mm thk) of approved colour, shade and size in the flooring as per drawing / flooring pattern, matching of grain, laid on a levelled, neat cement base with adhesive of approved make (laticrete) grouted of matching colour pigment to match the shade of stone and protection of floor to be taken into account.(cement concrete base taken into account in the civil works )
Flooring | Polishing | No | 71231244 | Normal Polish |  | 36 | sft | Polishing of existing Stone flooring as per site with granite polish and sealer coat as per approval/ detail and to the entire satisfaction of the Engineer in charge, including all material, labour, lead, lift, protection till final finish & handover, complete in all respects. (Rates are including for protection of adjacent existing finished material/ item like stone/ wooden/ paint with polythene/ply masking tape etc. or as per site condition before starting the works) (office and bath room area)
Flooring | Polishing | No | 71231245 | Diamond Polish |  | 54 | sft | Polishing of existing Stone flooring as per site with granite polish and sealer coat as per approval/ detail and to the entire satisfaction of the Engineer in charge, including all material, labour, lead, lift, protection till final finish & handover, complete in all respects. (Rates are including for protection of adjacent existing finished material/ item like stone/ wooden/ paint with polythene/ply masking tape etc. or as per site condition before starting the works) (office and bath room area)
Flooring | Floor Tiles upto 32" | No | 71231246 | Flooring – Vitrified Tiles – size of tiles upto 32 inches(tiles cost additional) | 0 | 59 | sft | Laying of Floor tiles of approved colour and size in flooring pattern as per drawing, over 20 mm thick cement mortar 1 : 4 ( 1 cement : 4 coarse sand ) and jointed with white cement slurry admixed with matching pigment to match the shade of tile. & Grouting and spacer to be included.
Flooring | Floor Tiles bigger than 32" | No | 71231247 | Flooring – Vitrified Tiles – bigger then 32”(tiles cost additional) | 0 | 62 | sft | Laying of Floor tiles of approved colour and size in flooring pattern as per drawing, over 20 mm thick cement mortar 1 : 4 ( 1 cement : 4 coarse sand ) and jointed with white cement slurry admixed with matching pigment to match the shade of tile. & Grouting and spacer to be included.
Flooring | Floor Tile Skirting | No | 71231248 | Skirting - Vitrified tiles of 3" to 6" (tile cost additional) | 0 | 38 | sft | Laying of Floor tiles of approved colour and size in flooring pattern as per drawing, over 20 mm thick cement mortar 1 : 4 ( 1 cement : 4 coarse sand ) and jointed with white cement slurry admixed with matching pigment to match the shade of tile. & Grouting and spacer to be included.
Flooring | Vinyl Flooring | No | 71231249 | only installation |  | 15 | sft | only installation
Flooring | Carpet Flooring | No | 71231250 | only installation |  | 15 | sft | only installation
False Ceiling | Gypsum Board Ceiling | No | 71231251 | Saint Gobain/Gyproc Board + local A Grade channel |  | 63 | sft | 12.5mm thick gypsum board, with local A Grade Channel including all material, labour, transportation etc ¦ Ceiling Channel and Intermediate Channel at 900mm c/c & Ceiling Section at 450mm c/c
False Ceiling | Gypsum Board Ceiling | No | 71231252 | IGL -Saint Gobain Board/Gyproc+ India Gypsum GI Frame |  | 79 | sft | 12.5mm thick gypsum board, with Saint Gobain or India Gyspum Channel including all material, labour, transportation etc ¦ Ceiling Channel and Intermediate Channel at 900mm c/c & Ceiling Section at 450mm c/c
False Ceiling | Gypsum Board Cove | No | 71231253 | Gypsum cove |  | 52 | rft | 12.5mm thick gypsum board, with Saint Gobain or India Gyspum Channel including all material, labour, transportation etc ¦ Ceiling Channel and Intermediate Channel at 900mm c/c & Ceiling Section at 450mm c/c (Each permieter of cove to be calculated individually)
Demolish | PCC 12-75 mm | No | 71231254 | Dismantling of PCC |  | 34 | sft | Demolition along with stacking in gunny bags and storing it as per instructed by Project manager
Demolish | Electrical Fittings and wiring | No | 71231255 | Removal of Existing Light fittings & Concealed Wiring |  | 32 | nos | Demolition along with stacking in gunny bags and storing it as per instructed by Project manager
Demolish | Frame (Marble / Granite) | No | 71231256 | Removal Marble / Granite Window Frame (Single ¦Double Patti ) (75 ¦ 100 ¦ 150 ¦ 300 mm ) |  | 20 | rft | Demolition along with stacking in gunny bags and storing it as per instructed by Project manager
Demolish | Doors & Window | No | 71231257 | Removal of Existing doors & Sliding Windows with frame |  | 450 | per door & window | Demolition along with stacking in gunny bags and storing it as per instructed by Project manager
Demolish | Wooden flooring & skirting | No | 71231258 | Removal of wooden flooring & skirting |  | 18 | sft | Demolition along with stacking in gunny bags and storing it as per instructed by Project manager
Demolish | Brick bat coba | No | 71231259 | Breaking of Brick Bat Coba upto 4" to 6" |  | 32 | sft | Demolition along with stacking in gunny bags and storing it as per instructed by Project manager
Demolish | Brick bat coba | No | 71231260 | Breaking of Brick Bat Coba upto 6" to 12" |  | 36 | sft | Demolition along with stacking in gunny bags and storing it as per instructed by Project manager
Demolish | Plaster | No | 71231261 | Breaking of old internal wall plaster |  | 14 | sft | Demolition along with stacking in gunny bags and storing it as per instructed by Project manager
Demolish | Plaster | No | 71231262 | Breaking of old external wall plaster |  | 20 | sft | Demolition along with stacking in gunny bags and storing it as per instructed by Project manager
Demolish | RCC | No | 71231263 | Breaking of Old RCC |  | 41 | sft | Demolition along with stacking in gunny bags and storing it as per instructed by Project manager
Demolish | Brick wall | No | 71231264 | Breaking wall 4 " along with plaster |  | 23 | sft | Demolition along with stacking in gunny bags and storing it as per instructed by Project manager
Demolish | Brick wall | No | 71231265 | Breaking wall 6" along with plaster |  | 23 | sft | Demolition along with stacking in gunny bags and storing it as per instructed by Project manager
Demolish | Brick wall | No | 71231266 | Breaking wall 9 " along with plaster |  | 27 | sft | Demolition along with stacking in gunny bags and storing it as per instructed by Project manager
Demolish | Plumbing(Demolish) | No | 71231267 | Removal of Sanitary Fittings and Concealed Supply and drainage lines from given locations |  | 1620 | per bathroom | Demolition along with stacking in gunny bags and storing it as per instructed by Project manager
Demolish | Debris | No | 71231268 | Debris Removal |  | 4050 | per truck | Demolition along with stacking in gunny bags and storing it as per instructed by Project manager (Approx 70 bags can be loaded in One truck)
Demolish | Labour | No | 71231269 | Extra Labour Cost for Material shifting if no service Lift in the building |  | 600 | nos | Demolition along with stacking in gunny bags and storing it as per instructed by Project manager
Demolish | Floor Tiles | No | 71231270 | Breaking Floor Tiles |  | 18 | sft | Demolition along with stacking in gunny bags and storing it as per instructed by Project manager. (Labour with manual hauling / Subject to site situtation)
Demolish | Marble Floor | No | 71231271 | Breaking marble Floor |  | 18 | sft | Demolition along with stacking in gunny bags and storing it as per instructed by Project manager. (Labour with manual hauling / Subject to site situtation)
Demolish | Only Skirting | No | 71231272 | Breaking Skirting |  | 16 | rft | Demolition along with stacking in gunny bags and storing it as per instructed by Project manager. (Labour with manual hauling / Subject to site situtation)
Demolish | Wall Tiles | No | 71231273 | Breaking and Removing Wall Tiles & Plaster |  | 18 | sft | Demolition along with stacking in gunny bags and storing it as per instructed by Project manager. (Labour with manual hauling / Subject to site situtation)
Demolish | Wall Cladding | No | 71231274 | Breaking and Removing Wall Cladding (Marble & Granite) & Plaster |  | 18 | sft | Demolition along with stacking in gunny bags and storing it as per instructed by Project manager. (Labour with manual hauling / Subject to site situtation)
Demolish | Tancha Work | No | 71231275 | Making Tancha On Wall & slab's where ever required, complete in all manner, by using manual labor or use of any requried machinery, & carting away debreis/ fittings/fixtures by the labor manual hauling to the dumping ground/goods stacking palce where ever prescribed by the engineer. |  | 10 | sft | Demolition along with stacking in gunny bags and storing it as per instructed by Project manager
Demolish | Kitchen Platform | No | 71231276 | Kitchen Platform demolition |  | 32 | sft | Demolition along with stacking in gunny bags and storing it as per instructed by Project manager. (Labour with manual hauling / Subject to site situtation)
Demolish | Kicthen Cabinet | No | 71231277 | Kitchen cabinet demolition |  | 23 | sft | Demolition along with stacking in gunny bags and storing it as per instructed by Project manager
Paint | Tractor Emulsion | No | 71231278 | 1 Primer + 2 Putty + 2 Paint |  | 16 | sft | Painting with Tractor emulsion on walls and ceiling, to give an even shade – Two or more coats on new work including preparation of surface. (_putty+_primer+_paint) as per requirement
Paint | Premium Emulsion (Plastic Paint) | No | 71231279 | 1 Primer + 2 Putty + 2 Paint |  | 21 | sft | Painting with acrylic emulsion on ceiling, to give an even shade – Two or more coats on new work including preparation of surface. (_putty+_primer+_paint) as per requirement
Paint | Interior Finish Lustre | No | 71231280 | 1 Primer + 2 Putty + 2 Paint |  | 24 | sft | Painting with interior finish Luster on walls , to give an even shade – Two or more coats on new work including preparation of surface. (_putty+_primer+_paint) as per requirement
Paint | Royal Luxury Emulsion | No | 71231281 | 1 Primer + 2 Putty + 2 Paint |  | 27 | sft | Painting with royal luxury emulsion on walls, to give an even shade – Two or more coats on new work including preparation of surface. (_putty+_primer+_paint) as per requirement
Paint | Royal Aspira | No | 71231282 | 1 Primer + 2 Putty + 2 Paint |  | 27 | sft | Painting with royal Aspira on walls, to give an even shade – Two or more coats on new work including preparation of surface. (_putty+_primer+_paint) as per requirement
Paint | Royal Shyne | No | 71231283 | 1 Primer + 2 Putty + 2 Paint |  | 28 | sft | Painting with royal Aspira on walls, to give an even shade – Two or more coats on new work including preparation of surface. (_putty+_primer+_paint) as per requirement
Paint | Texture (Non metallic) Royal | No | 71231284 | 2 Primer + 1 Putty + TP |  | 110 | sft
Paint | Texture (Metallic) Royal | No | 71231285 | 2 Primer + 1 Putty + TP |  | 160 | sft
Electrical | 5A Switch & Socket - Relocation (Same wall same room) Doesn't include switch or socket | No | 71231286 | relocation of 5A Switch & Socket within 1 mts on wall include the price for wire and conduits, chipping and replastering on wall is included | 0 | 405 | per point | NOTE - The rates include fixing of GI box, switch/ socket in position, effecting proper connections testing and commissioning of lighting fixtures and fans including lamps, control gear, power factor improvement capacitor and all fixing accessories that may be required to check.
Electrical | 5A Switch & Socket - Relocation (Different wall same room) Doesn't include switch or socket | No | 71231287 | relocation of 5A Switch & Socket on wall include the price for wire and conduits, chipping and replastering on wall is included | 0 | 540 | per point | NOTE - The rates include fixing of GI box, switch/ socket in position, effecting proper connections testing and commissioning of lighting fixtures and fans including lamps, control gear, power factor improvement capacitor and all fixing accessories that may be required to check.
Electrical | 5A Switch & Socket - New (Doesn't include switch or socket) | No | 71231288 | new 5A Switch & Socket on wall include the price for wire and conduits, chipping and replastering on wall is included | 0 | 540 | per point | NOTE - The rates include fixing of GI box, switch/ socket in position, effecting proper connections testing and commissioning of lighting fixtures and fans including lamps, control gear, power factor improvement capacitor and all fixing accessories that may be required to check.
Electrical | 5A Switch - Relocation (Doesn't include switch or socket) | No | 71231289 | relocation of 5A Switch (Light) points within 1 mts.on wall include the price for wire and conduits, chipping and replastering on wall is included | 0 | 350 | per point | NOTE - The rates include fixingof switch / socket in position, effecting proper connections testing and commissioning of lighting fixtures and fans including lamps, control gear, power factor improvement capacitor and all fixing accessories that may be required to check.Cost of new switch plate, socket and switches to be added per no in base rate
Electrical | 5A Switch - New (Doesn't include switch or socket) | No | 71231290 | new 5A Switch (Light) points on wall include the price for wire and conduits, chipping and replastering on wall is included | 0 | 500 | per point | NOTE - The rates include fixingof switch / socket in position, effecting proper connections testing and commissioning of lighting fixtures and fans including lamps, control gear, power factor improvement capacitor and all fixing accessories that may be required to check.Cost of new switch plate, socket and switches to be added per no in base rate
Electrical | 15 A Switch & Socket - Relocation (Doesn't include switch or socket) | No | 71231291 | Relocation of 15A Switch & Socket within 1mts on wall include the price for wire and conduits, chipping and replastering on wall is included | 0 | 432 | per point | NOTE - The rates include fixingof switch / socket in position, effecting proper connections testing and commissioning of lighting fixtures and fans including lamps, control gear, power factor improvement capacitor and all fixing accessories that may be required to check.Cost of new switch plate, socket and switches to be added per no in base rate
Electrical | 15 A Switch & Socket - New (Doesn't include switch or socket) | No | 71231292 | new 15A Switch & Socket on wall include the price for wire and conduits, chipping and replastering on wall is included | 0 | 675 | per point | NOTE - The rates include fixingof switch / socket in position, effecting proper connections testing and commissioning of lighting fixtures and fans including lamps, control gear, power factor improvement capacitor and all fixing accessories that may be required to check.Cost of new switch plate, socket and switches to be added per no in base rate
Electrical | Secondary point | No | 71231293 | secondary looping point (within same room) |  | 383 | per point | Looped to other second/ other light point
Electrical | Circuit wiring | No | 71231294 | Circuit Wiring 2.5 mm including conduit |  | 32 | rft | From DB to switch board
Electrical | Circuit wiring | No | 71231295 | Circuit Wiring 4 mm including conduit |  | 41 | rft | From DB to switch board
Electrical | Telephone wiring (Doesn't include switch or socket) | No | 71231296 | Telephone Wiring 4 pair (inlcudes wiring and conduits) |  | 41 | rft | Electrical Wiring
Electrical | Internet wiring (Doesn't include switch or socket) | No | 71231297 | Internet Wiring CAT-6 (inlcudes wiring & conduits) |  | 43 | rft | Electrical Wiring
Electrical | Cable wiring | No | 71231298 | TV Cable Wiring RJ-6 (includes wiring and conduits ) |  | 36 | rft | Electrical Wiring
Electrical | Speaker wiring | No | 71231299 | Speaker Cabling |  | 39 | rft | Electrical Wiring
Electrical | Light fixing Installation | No | 71231300 | Standard Light Fixing |  | 117 | no. | Electrical Wiring
Plumbing | Plumbing | No | 71231301 | Sanitary & CP fitting work ( 1 WC + 1 Shower + 1 Geyser + 1 Basin) |  | 3420 | per bathroo m | cp fiting and sanitary ware fixing in a bathroom (only fitting charges)
Plumbing | Plumbing | No | 71231302 | Piping for 1 WC + 1 Shower + 1 Geyser + 1 Basin |  | 18000 | per bathroo m | all plumbing concealed wall and floor CPVC pipes and chipping and replastering work
Partition | Shower cubical | No | 71231303 | toughened glass 10mm + ozone fitting (shutter) |  | 621 | per sft | toughened glass 10mm + ozone fitting (shutter)
Partition | Shower cubical | No | 71231304 | toughened glass 10mm + ozone fitting (sliding ) |  | 711 | sft | toughened glass 10mm + ozone fitting (sliding )
Partition | Toughened Glass Partition | No | 71231305 | Clear Toughened Glass 12 mm partition |  | 441 | sft | Providing and fixing full height 12 mm thick toughned glass partition with D-bracket. Without any shutter or sliding, simple partition
Paneling | Panelling Works (commercial ply) on Wall (1.5" * 2" Salwood Framing) | No | 71231306 | Economical range-Laminate Finish |  | 378 | sft | Laminate @ Rs. 1280/ sheet (INR 40/ sq.ft)
Paneling | Panelling Works (commercial ply) on Wall (1.5" * 2" Salwood Framing) | No | 71231307 | Mid range-Plain Veneer Finish-Melamine polish (matt) |  | 585 | sft | Veneer @ Rs.100/sft
Paneling | Panelling Works (commercial ply) on Wall (1.5" * 2" Salwood Framing) | No | 71231308 | Mid range- Plain Veneer Finish - PU Plain/ Natural Finish |  | 747 | sft | Veneer @ Rs.100/sft
Paneling | Panelling Works (commercial ply) on Wall (1.5" * 2" Salwood Framing) | No | 71231309 | Veneer Finish- PU Color Finish |  | 828 | sft | Veneer @ Rs.30/sft
Paneling | Panelling Works (commercial ply) on Wall (1.5" * 2" Salwood Framing) | No | 71231310 | Mid range-Veneer Finish- Clear Lamination |  | 927 | sft | Veneer @ Rs.100/sft
Paneling | Panelling Works (commercial ply) on Wall (1.5" * 2" Salwood Framing) | No | 71231311 | Veneer Finish - Duco White Lamination |  | 990 | sft | Veneer @ Rs.30/sft
Paneling | Panelling Works (commercial ply) on Wall (1.5" * 2" Salwood Framing) | No | 71231312 | Veneer Finish - Duco Color Lamination |  | 1053 | sft | Veneer @ Rs.30/sft
Paneling | Panelling Works (commercial ply) on Wall (1.5" * 2" Salwood Framing) | No | 71231313 | Back painted glass paneling- 8mm toughened thk Glass ( Bevelling extra @ 40 rs / rft as per design) |  | 630 | sft | Back painted toughened Glass considered @250 Rs / sqft , 8mm
Paneling | Panelling Works (commercial ply) on Wall (1.5" * 2" Salwood Framing) | No | 71231314 | Gypsum board on plywood panelling ( AC Panelling) |  | 383 | sft | Kolors/ goldmedal
Paneling | Panelling Works (commercial ply) on Wall (1.5" * 2" Salwood Framing) | No | 71231315 | ACP Sheet Panelling with Aluminium Framing |  | 458 | sft | Legrand/ GM/ Havells
Paneling | Panelling Works (commercial ply) on Wall (1.5" * 2" Salwood Framing) | No | 71231316 | 6mm Mirror Panelling with 1.5" * 1.5" side border ( Bevelling extra @ 40 Rs /rft as per design) |  | 342 | sft | Electrical Wiring
Partition | Partition Works (12 Commercial Ply - Both sides) (1.5" * 2" Salwood Framing) | No | 71231317 | Economical range-Laminate Finish |  | 522 | sft | Anchor/ Roma
Partition | Partition Works (12 Commercial Ply - Both sides) (1.5" * 2" Salwood Framing) | No | 71231318 | Mid range-Veneer Finish - Malamine (matt) |  | 783 | sft | Kolors/ goldmedal
Partition | Partition Works (12 Commercial Ply - Both sides) (1.5" * 2" Salwood Framing) | No | 71231319 | Gypsum Board Plywood Partition - wood frame and 12mm ply both sides with Salwood framing |  | 477 | sft | Legrand/ GM/ Havells
Partition | Partition Work | No | 71231320 | Single Layer Gypsum Board Partition |  | 207 | sft | Anchor/ Roma
Partition | Partition Works (12 Commercial Ply - Both sides) (1.5" * 2" Salwood Framing) | No | 71231321 | Toughened Glass Partition - 12mm thk clear glass |  | 563 | sft | Kolors/ goldmedal
False Ceiling | Plywood Ceiling (12 Commercial Ply - Both sides) (1.5" * 2" Salwood Framing) | No | 71231322 | Economical range-Laminate Finish. (Plain design with single laminate) |  | 405 | sft | Legrand/ GM/ Havells
False Ceiling | Plywood Ceiling (12 Commercial Ply - Both sides) (1.5" * 2" Salwood Framing) | No | 71231323 | Mid range- Melamine polish (matt) |  | 653 | sft | Anchor/ Roma
False Ceiling | Plywood Ceiling (12 Commercial Ply - Both sides) (1.5" * 2" Salwood Framing) | No | 71231324 | Mid range-Veneer Finish- PU Plain/ Natural Finish (without any design) |  | 783 | sft | Kolors/ goldmedal
Paneling | Plywood Ceiling (12 Commercial Ply - Both sides) (1.5" * 2" Salwood Framing) | No | 71231325 | Plywood Ceiling - Veneer Finish - 12mm comm. Ply - PU Color Finish |  | 1050 | sft | Veneer @ Rs.30/sft
False Ceiling | Plywood Ceiling (12 Commercial Ply - Both sides) (1.5" * 2" Salwood Framing) | No | 71231326 | Mid range-Veneer Finish - Clear Lamination |  | 905 | sft | Legrand/ GM/ Havells
False Ceiling | Plywood Ceiling (12 Commercial Ply - Both sides) (1.5" * 2" Salwood Framing) | No | 71231327 | Veneer Finish- Duco White Lamination |  | 918 | sft | Anchor/ Roma
False Ceiling | Plywood Ceiling (12 Commercial Ply - Both sides) (1.5" * 2" Salwood Framing) | No | 71231328 | Veneer Finish - Duco Color Lamination |  | 932 | sft | Kolors/ goldmedal
False Ceiling | 6" x 6" Plywood Rafter | No | 71231329 | Economical range-Laminate Finish |  | 414 | rft | Legrand/ GM/ Havells
False Ceiling | 6" x 6" Plywood Rafter | No | 71231330 | Mid range-Veneer Finish with Melamine Polish |  | 585 | rft | Anchor/ Roma
Pelmet | Pelmet in 18mm Ply (6" * 6") : | No | 71231331 | Gypsum finish |  | 315 | rft | Kolors/ goldmedal
Pelmet | Pelmet in 18mm Ply (6" * 6") : | No | 71231332 | Laminate finish-Economical range |  | 378 | rft | Legrand/ GM/ Havells
Pelmet | Pelmet in 18mm Ply (6" * 6") : | No | 71231333 | Mid range- Veneer with Melamine Matt |  | 549 | rft | Anchor/ Roma
Carpentry | DOORS without frame | No | 71231334 | Economical range laminate-INR 40/ sq.ft Safety door with Grill (3' X 7'-0") (40mm blockboard) |  | 27000 | no | Kolors/ goldmedal
Carpentry | DOORS without frame | No | 71231335 | Economical range laminate-INR 40/ sq.ft. Main door (3'-6" X 7'-0") (40mm blockboard) |  | 25200 | no | Legrand/ GM/ Havells
Carpentry | DOORS without frame | No | 71231336 | Mid range-Veneer INR 100/ sq.ft. Main door (3'-6" X 7'-0") (40mm blockboard) |  | 27900 | no | Anchor/ Roma
Carpentry | DOORS without frame | No | 71231337 | Economical range-Laminate INR 40/ sq.ft. Toilet door (marine grade) 3' x 7'0" (30mm blockboard) |  | 19800 | no | Kolors/ goldmedal
Carpentry | DOORS without frame | No | 71231338 | Economical range- Laminate INR 40/ sq.ft. Room door - 3' X7'-0" (35 mm blockboard ) |  | 20700 | no | Legrand/ GM/ Havells
Carpentry | DOORS without frame | No | 71231339 | Mid range-Veneer INR 100/ sq.ft. Room door - 3' X7'-0" (35 mm blockboard ) |  | 22500 | no | Electrical Wiring
Carpentry | Frame (for door of size 7' by 3') (4" * 3" ply boxing) | No | 71231340 | Frame |  | 450 | rft | Ply boxing + Laminate. Rs.1800 external sheet laminate, Veneer @30Rs /sqft
Carpentry | Frame (for door of size 7' by 3') (4" * 3" Teak Wood) | No | 71231341 | Mid range-Veneer INR 100/ sq.ft |  | 716 | rft | Laminate @ INR 40/ sq.ft
Electrical | Ceiling light point Relocation (Doesn't include switch or socket) | No | 72134380 | relocation of ceiling Light point within 5 mts include the price for wire and conduits, chipping and replastering on wall is included |  | 315 | no | Veneer @ Rs.80/sft
Electrical | Ceiling light point - New (Doesn't include switch or socket) | No | 72134381 | new ceiling Light points include the price for wire and conduits, chipping and replastering on wall is included |  | 468 | no | Laminate @ INR 60/ sq.ft
Paneling | 12mm Commercial ply on Wall (1.5" * 2" Salwood Framing) | No | 72134382 | Plywood panelling for wallpaper | 0 | 342 | sft | Veneer @ Rs.150/sft
Electrical | CFL/Led light fixing | No | 72134383 | CFL/Led light fixing |  | 68 | no | Veneer @ Rs.30/sft
Electrical | Fan Fixing along | No | 72134384 | Fan Fixing along |  | 225 | no | Veneer @ Rs.80/sft
Electrical | -fixing of led stripes with material. | No | 72134385 | -fixing of led stripes with material. |  | 68 | no | Veneer @ Rs.80/sft
Paint | Oile Base Primer | No | 72134386 | WALL PAPER BASE PREPARATION |  | 12 | sft | Veneer @ Rs.100/sft
Carpentry | REMOVING AND REFIXING OF LAMINATE | No | 72134387 | ECONMICAL RANGE Basic Rate of Laminte Rs. 40/SFT |  | 11250 | sft | Veneer @ Rs.100/sft
Carpentry | ACP BOXING IN ALUMINUM FRAME WORK | No | 72134388 | 3 mm thick ACP Rs. 200/sq ft. Make - Euro Bond |  | 458 | sft | Veneer @ Rs.100/sft
Greenfield | FALSE CEILING - Gypsum Board Ceiling including painting | No | 72134389 | IGL -Saint Gobain Board/Gyproc+ India Gypsum GI Frame | 0 | 86.1314 | Sq. Ft | 12.5mm thick gypsum board, with Saint Gobain or India Gyspum Channel including all material, labour, transportation etc ¦ Ceiling Channel and Intermediate Channel at 900mm c/c & Ceiling Section at 450mm c/c including painting(Plastic paint - 2 Primer + 1 Putty + 2 PE)
Greenfield | FALSE CEILING - Gypsum Board Cove including painting | No | 72134390 | Gypsum cove including painting | 0 | 86.1314 | r.ft. | 12.5mm thick gypsum board, with Saint Gobain or India Gyspum Channel including all material, labour, transportation etc ¦ Ceiling Channel and Intermediate Channel at 900mm c/c & Ceiling Section at 450mm c/c (Each permieter of cove to be calculated individually)including painting(Plastic paint - 2 Primer + 1 Putty + 2 PE)
Greenfield | DEMOLISH - Kitchen Platform | No | 72134391 | Kitchen Platform demolition | 0 | 43.0657 | s.ft. | Demolition along with stacking in gunny bags and storing it as per instructed by Project manager. (Labour with manual hauling / Subject to site situtation)
Greenfield | CIVIL - Kitchen Platform | No | 72134392 | Kitchen Platfrom Granite Removal (Most of the cause, Granite may get Broke) | 0 | 107.2993 | s.ft. | Kitchen Platfrom Granite Removal (Most of the cause, Granite may get Broke) & Keep in to Balcany
Greenfield | CIVIL - Kitchen Platform | No | 72134393 | Fully Modular Kitchen Platform - Granite | 0 | 171.5328 | s.ft. | Kitchen Platform installation (includes moulding , cutting etc)
Greenfield | CIVIL - Kitchen Platform | No | 72134394 | Fully Modular Kitchen Platform - Quartz | 0 | 193.4307 | s.ft. | Kitchen Platform installation(includes base marble with moulding , cutting also includes floor bedding with marble etc)
Greenfield | PAINT - Tractor Emulsion | No | 72134395 | 2 Primer + 2 Putty + 2 TE | 0 | 21.1679 | Sq. Ft | Painting with Tractor emulsion on walls and ceiling, to give an even shade ? Two or more coats on new work including preparation of surface. (_putty+_primer+_paint) as per requirement
Greenfield | PAINT - Premium Emulsion (Plastic Paint) | No | 72134396 | 2 Primer + 1 Putty + 2 PE | 0 | 27.0073 | Sq. Ft | Painting with acrylic emulsion on ceiling, to give an even shade ? Two or more coats on new work including preparation of surface. (_putty+_primer+_paint) as per requirement
Greenfield | PAINT - Royal Luxury Emulsion | No | 72134397 | 2 Primer + 1 Putty + 2 RLE | 0 | 37.2263 | Sq. Ft | Painting with royal luxury emulsion on walls, to give an even shade ? Two or more coats on new work including preparation of surface. (_putty+_primer+_paint) as per requirement
Greenfield | ELECTRICAL - 5A Switch & Socket - Relocation (Same wall same room) Doesn't include switch or socket | No | 72134398 | relocation of 5A Switch & Socket within 1 mts on wall include the price for wire and conduits, chipping and replastering on wall is included | 0 | 429.1971 | per point | NOTE - The rates include fixing of GI box, switch/ socket in position, effecting proper connections testing and commissioning of lighting fixtures and fans including lamps, control gear, power factor improvement capacitor and all fixing accessories that may be required to check.
Greenfield | ELECTRICAL - 5A Switch & Socket - Relocation (Different wall same room) Doesn't include switch or socket | No | 72134399 | relocation of 5A Switch & Socket with in 2 Mtr on wall include the price for wire and conduits, chipping and replastering on wall is included | 0 | 858.3942 | per point | NOTE - The rates include fixing of GI box, switch/ socket in position, effecting proper connections testing and commissioning of lighting fixtures and fans including lamps, control gear, power factor improvement capacitor and all fixing accessories that may be required to check.
Greenfield | ELECTRICAL - 5A Switch & Socket - New (Doesn't include switch or socket) | No | 72134400 | new 5A Switch & Socket on wall include the price for wire and conduits, chipping and replastering on wall is included | 0 | 643.7956 | per point | NOTE - The rates include fixing of GI box, switch/ socket in position, effecting proper connections testing and commissioning of lighting fixtures and fans including lamps, control gear, power factor improvement capacitor and all fixing accessories that may be required to check.
Greenfield | ELECTRICAL - 15 A Switch & Socket - Relocation (Doesn't include switch or socket) | No | 72134401 | Relocation of 15A Switch & Socket within 1mts on wall include the price for wire and conduits, chipping and replastering on wall is included | 0 | 483.2117 | per point | NOTE - The rates include fixing of GI box, switch/ socket in position, effecting proper connections testing and commissioning of lighting fixtures and fans including lamps, control gear, power factor improvement capacitor and all fixing accessories that may be required to check.
Greenfield | ELECTRICAL - 15 A Switch & Socket - New (Doesn't include switch or socket) | No | 72134402 | new 15A Switch & Socket on wall include the price for wire and conduits, chipping and replastering on wall is included | 0 | 697.8102 | per point | NOTE - The rates include fixing of GI box, switch/ socket in position, effecting proper connections testing and commissioning of lighting fixtures and fans including lamps, control gear, power factor improvement capacitor and all fixing accessories that may be required to check.
Greenfield | PLUMBING - Internal plumbing work for Kitchen | No | 72134403 | Inlet-Outlet pipe for sink, Washing machine & dish washer. Drain for washing machine & dish washer | 0 | 4828.4672 | Per Kitchen | all plumbing concealed wall and floor CPVCpipes and chipping and replastering work
Greenfield | Jali Partition - Cnc cut MDF+PU | No | 72134404 | Cnc cut MDF+PU | 0 | 21459.854 | Per Unit | "width -600 mm height -2100 mm depth -75 mm"
Greenfield | Jali Partition - Cnc cut MDF+PU | No | 72134405 | Cnc cut MDF+PU | 0 | 26288.3212 | Per Unit | "width -750 mm height -2100 mm depth -75 mm"
Greenfield | Panel Service Work - TV Panel Work | No | 72134406 | "width -900 mm height -1200 mm depth -50+18 mm" HDMI Cabel Provision to Conceal the Wiring | 0 | 16416.7883 | Per Unit | "50mm Frame work + 18mm front panle with electrical condute for electrical wiring Laminate Code (Merino) - 10544 Canadian Walnut, 10241 (Vivid Straw), 44789 (HGL RH, Rusty Oxid Metal), 22137 (HGL Cappuccino), 21187 (HGL Champagne)"
Greenfield | Panel Service Work - TV Panel Work | No | 72134407 | "width -1200 mm height -1200 mm depth -50+18 mm" HDMI Cabel Provision to Conceal the Wiring | 0 | 20923.3577 | Per Unit | "50mm Frame work + 18mm front panle with electrical condute for electrical wiring Laminate Code (Merino) - 10544 Canadian Walnut, 10241 (Vivid Straw), 44789 (HGL RH, Rusty Oxid Metal), 22137 (HGL Cappuccino), 21187 (HGL Champagne)"
Greenfield | Panel Service Work - TV Panel Work | No | 72134408 | "width -1500 mm height -1200 mm depth -50+18 mm" HDMI Cabel Provision to Conceal the Wiring | 0 | 25537.2263 | Per Unit | "50mm Frame work + 18mm front panle with electrical condute for electrical wiring Laminate Code (Merino) - 10544 Canadian Walnut, 10241 (Vivid Straw), 44789 (HGL RH, Rusty Oxid Metal), 22137 (HGL Cappuccino), 21187 (HGL Champagne)"
Greenfield | Panel Service Work - Vanity Unit Without Sink | No | 72134409 | width -550 mm height -550 mm depth -580 mm" | 0 | 5364.9635 | Per Unit | "BWP Ply + Laminate+Epco hinges Laminate Code (Merino) - 10544 Canadian Walnut, 10241 (Vivid Straw), 44789 (HGL RH, Rusty Oxid Metal), 22137 (HGL Cappuccino), 21187 (HGL Champagne)"
Greenfield | Panel Service Work - Vanity Unit Without Sink | No | 72134410 | width -800 mm height -550 mm depth -580 mm" | 0 | 6974.4526 | Per Unit | "BWP Ply + Laminate+Epco hinges Laminate Code (Merino) - 10544 Canadian Walnut, 10241 (Vivid Straw), 44789 (HGL RH, Rusty Oxid Metal), 22137 (HGL Cappuccino), 21187 (HGL Champagne)"
Greenfield | Puja Unit - Puja Unit - Model 1 | No | 72134411 | width -800 mm height -1000 mm depth -300 mm" | 0 | 18240.8759 | Per Unit | As attached in the Drawing Drawing name : Puja Unit - 1
Greenfield | Puja Unit - Puja Unit - Model 2 | No | 72134412 | width -1800 mm height -1800 mm depth -500 mm" | 0 | 53649.635 | Per Unit | As attached in the Drawing Drawing name : Puja Unit - 2